## Overrides
Part Number | Group | Description
3KC48901AA | Chassis/Shelf | PSS8 SHELF (INCLUDING PSS8SHF, SHELF PNL)
3KC48830AA | Chassis/Shelf | PSS8-8SP - SHELF PNL, TEMP-HARDEN
3KC48850AA | Chassis/Shelf | PSS8-8FAN - FAN UNIT, TEMP-HARDENED
3HE06791AA | Chassis/Shelf | SAR-8 SHELF V2
3HE06792EA | Chassis/Shelf | FAN MODULE (SAR-8 SHELF V2) EXT TEMP
3HE11278AA | Chassis/Shelf | 7250 IXR-R6 CHASSIS
3HE11279AA | Chassis/Shelf | 7250 IXR-R6 FAN TRAY
3KC48870AB | Cards | POWER FILTER-30A-PSS8 (8DC30)
3KC70693AB | Cards | ASGLP AMPLIFIER SWITCHED GAIN EDFA LP
3KC70693AA | Cards | ASG AMPLIFIER SWITCHED GAIN EDFA
8DG61330AA | Cards | WTOCM-F
8DG62504AA | Cards | OTDR
3KC48820AA | Cards | 8EC2 - EQUIPT CONTROLLER-PSS8, TEMP-HARDEN
3KC49230AB | Cards | SFDC8B - STATIC FLTR DWDM CMPCT 8CH (B)
3HE02774AB | Cards | CONTROL SWITCH MODULE V2 (CSMV2)
3HE07943AA | Cards | 2P 10GE+4P GE 10G ETH CARD (-48/+24VDC)
3HE03127AA | Cards | 2P OC3/STM1 CHANNELIZED ADAPTER CARD
3HE12504AA | Cards | 8-PORT C37.94 TELEPROTECTION CARD - TPC
3HE02781AA | Cards | 32 PORT T1/E1 ASAP CARD (-48/+24 VDC)
3HE11283AA | Cards | 7250 IXR-R6 CPIOM
3HE11282AB | Cards | 1P 100GE QSFP28 + 6P 10GE SFP+ MDA-e
3HE03126AA | Cards | 6 PORT E/M INTERFACE CARD
3HE03391AC | Cards | 12P SERIAL DATA CARD V3 -48/+24VDC
3HE06006AA | Cards | 8 PORT VOICE AND TELEPROTECTION CARD
3HE02780AA | Cards | 6 PORT FXS LINE CARD (-48/+24 VDC)
3HE07938AA | Cards | 4 PORT OC3/STM1 - 1 PORT OC12/STM4 CARD
8DG59427AA | Cards | DCM - SMF 50KM
FTLC1152RGPL-AL | Optics | Third Party Pluggable
TR-FC13T-N00 | Optics | 100G BASE QSFP28 CWDM4 IR4 1310nm
3HE00035CA | Optics | 1-port OC-3/STM-1 SONET/SDH Optics Module, IR-1 / I-1, Single
3HE03399AB | Additional Material | T1/E1 CABLE 26 AWG OPEN-ENDED 30M
3KC49822AA | Additional Material | CA-DC POWER CABLE_DC 3.6M_ANGLED (PSS8)
8DG08359AA | Additional Material | CA-INVENTORY CABLE (2.3M), SHIELDED CAT5
3HE10339AA | Additional Material | CPX DC Defender Modules
3CC52216AA | Additional Material | Fan-Alarm Evo 8 HK cord 7.5m
3HE12442AA | Additional Material | 4 PORT RS232 DIST PANEL,SDIv3 ONLY
3HE10338AA | Additional Material | EXTERNAL SURGE PROTECTION KIT
3HE12410AA | Additional Material | DCE CABLE for SDI V3
3HE11286AA | Additional Material | 7250 IXR-R6 fan filter, 5-pack
3HE11288AA | Additional Material | 7250 IXR-R6 MDA IMPEDANCE PANEL
3HE11287AA | Additional Material | 7250 IXR-R6 CPIOM impedance panel
3HE16710AA | Additional Material | ACC - 7250-IXR-R6dl Fan Filters (5 pack)
8DG59603AA | Additional Material | KIT-OMD INSTALLATION KIT
3HE12384AA | Additional Material | 7250 IXR-R6 ACCESSORY KIT
8DG60130AA | Additional Material | OMD COVER KIT (EIA)
3HE03394AA | Additional Material | 32 PORT T1/E1 RJ45 PANEL
3KC49812AA | Additional Material | PSS8 INST KIT-19IN EIA
3KC48901AA | Additional Material | PSS8 SHELF-(INCLUDING PSS8SHF,SHELF PNL)
3KC72037AA | Additional Material | SWP KIT 1830PSS SWDM
3HE16738AA | Additional Material | ACC - MDA Impedance Panel (R6d)
3KC72037AA | Additional Material | KIT SWP 1830PSS SWDM R22.12.00
8DG60207AA | Additional Material | ESWL-1830 PSS WAVELENGTH TRACKER SOFTWAR
1AB215120085 | Additional Material | SHORT JUMPER LC (120MM)
8DG62768AA | Additional Material | ANSI LC APC LOW-LOSS (FOR OTDR) 3.5M
8DG09811AA | Additional Material | HSLADA-HALF SLOT ADAPTER
8DG08359AA | Additional Material | CA-INVENTORY CABLE (2.3M), SHIELDED CAT5
1AB215120077 | Additional Material | SIMPLEX JUMPER 3.5M - NAR
3KC49812AA | Additional Material | PSS8 INST KIT-19IN EIA
3HE16839AA | Additional Material | RTU - 7250 1588 Freq+Phase LICENSE LARGE
3HE09302CA | Additional Material | RTU -2P 10GE+4P GE 10G ETH ENCRYPTION
3HE07354AC | Additional Material | RTU - 7705 IEEE1588 Time/Phase LICENSE
3HE15662EA | Additional Material | OS - 7250 IXR R24.x OS LICENSE LARGE
3HE02784UA | Additional Material | SAR RELEASE 24.x BASIC OS LICENSE
3HE09259EA | Additional Material | RTU - 7705 SAR-8 NGE LICENSE
3HE03399AB | Additional Material | T1/E1 CABLE 26 AWG OPEN-ENDED 30M
3HE08607EA | Additional Material | RTU - 7705 SAR-8 Basic IPSec LICENSE
1AB2151200 | Additional Material | SHORT JUMPER LC (230MM)
1AD1519300 | Additional Material | FIBER STORAGE TRAY (2U)
8DG59427AA | Additional Material | DCM - SMF 50KM